## Slide 1: Digital patologi og Billedanalyse
Kristina Lystlund Lauridsen
Bioanalytiker og projektkoordinator
Udviklingslaboratoriet, Patologisk institut
Aarhus Universitetshospital

## Slide 2: Patologisk institut

## Slide 3: Synsfelt
An improved technique for mitosis counting. Gal R, Rath-Wolfson L, Rosenblatt Y, Halpern M, Schwartz A, Koren R. Int J Surg Pathol. 2005 Apr;13(2):161-5.

## Slide 4
Breast carcinoma malignancy grading by Bloom-Richardson system vs proliferation index: reproducibility of grade and advantages of proliferation index. Meyer JS, Alvarez C, Milikowski C, Olson N, Russo I, Russo J, Glass A, Zehnbauer BA, Lister K, Parwaresch R; Cooperative Breast Cancer Tissue Resource. Mod Pathol. 2005 Aug;18(8):1067-78.
κ | Interpretation
< 0 | No agreement
0.0 — 0.20 | Slight agreement
0.21 — 0.40 | Fair agreement
0.41 — 0.60 | Moderate agreement
0.61 — 0.80 | Substantial agreement
0.81 — 1.00 | Almost perfect agreement

## Slide 5: Hvad er digital patologi?
Scan: Whole Slide Imaging (WSI)
Image viewing programs
Manage
Digital Image Analysis (DIA)
Integrate
Sharing

## Slide 7: Digital Image Analysis 1

## Slide 8: Digital Image Analysis 2

## Slide 9: Digital Image Analysis 3

## Slide 10: CD1a

## Slide 11: CD1a areal fraktion

## Slide 12: Ki-67

## Slide 13: Ki-67 proliferativt index

## Slide 14: Hvordan anvender vi digital patologi i dag.
Primært forskning
  Patologer og ikke-patologers forskning
  Hjemmesider
  Tissue Micro Arrays
Undervisning
  Konferencer
  Hjemmesider

## Slide 15: Hvorfor skal digital patologi implementeres i patologisk rutine?
Krav om kvantitative resultater
Reproducerbarhed
Øget analyserepertoire
Arbejdspres/opgaveglidning
Muligt at anvende digital telepatologi

## Slide 16: Udfordringer i forskning og rutine ved implementereing af digital patologi
Præanalytisk standardisering
Pris på dataopbevaring
Kvalificeret personale
Carcinoma in situ
Tab af viden

## Slide 17: Fremtiden for digital patologi?
Implementering i rutinen
Digital patologi/DIA som en bioanalytiker opgave
Bioanalytikeren som bindeled mellem patologer og teknologien
Bioanalytiker drevet forskning

## Slide 18: Bioanalytikerens valg
    Hvis vi ikke gør dette, vil andre tage over.